Bisoxonol Protocol

- Pellet cells and adjust to 10 x 106/ml.

- Dissolve 50 g freeze-dried aliquot of Rhod-2 (Invitrogen, Cat. No. R1245MP) with 50 g DMSO.

- Incubate cells with 0.5 g/ml Rhod-2 at 370C for 45 min.

- Wash twice in calcium free PBS.

- Adjust cells to 1 x 106/ml in Falcon 5ml tubes.

- Run flow cytometer with 575 nm channel on linear against the Time parameter.